| An annex to the Instruction | Evacuation safety signs |
| --- | --- |
|  | Emergency exit (left-side) It marks the escape route to the safe area An additional sign with an arrow is used to give information about the direction |
|  | Emergency exit (right-side) It marks the escape route to the safe area An additional sign with an arrow is used to give information about the direction |
|  | Emergency arrow pointing the direction of the evacuation It is used to determine the evacuation direction (the arrow can be rotated by a multiple of 90 angle in relation to the vertical). This mark is only used as an additional mark. Examples of the use of the mark: |
|  | Arrow with 45 ° slope indicates evacuation direction It is used to determine the evacuation direction (the arrow can be rotated by a multiple of 90 angle in relation to the vertical). This mark is only used as an additional mark. Examples of the use of the mark: |
|  | Fire assembly point for evacuation Marking a safe assembly point for evacuation |
|  | Fire assembly point for the disabled people It indicates a temporary safe area (hiding place) for people awaiting for help, who cannot use the stairs in case of the evacuation |
|  | Break to gain access It marks the cover that needs to be broken to get access to the key, that opens the emergency exit |
|  | Turn to open It indicates that the safety door handle must be turned in a counterclockwise direction to allow the door to open |
|  | Turn to open It indicates that the safety door handle must be turned in a clockwise direction to allow the door to open |
|  | Push to open the door (left) It indicates that after pressing the door, it opens to the left |
|  | Push to open the door (right) It indicates that after pressing the door, it opens to the right |
|  | Escape ladder It indicates the location of permanently secured escape ladder |
|  | Medical first aid It indicates the location of the medical equipment or medical facilities |
|  | Defibrillator (AED) It indicates the location of the automatic external defibrillator |

|  | Fire safety signs |
| --- | --- |
|  | Fire extinguisher It indicates the location of the fire extinguisher |
|  | Fire hydrant and hose It indicates the location of the fire hydrant and hose |
|  | Safety equipment set It indicates the location of the safety equipment set |
|  | Fire alarm It indicates the location of the fire alarm button |
|  | Fire alarm phone It indicates the location of the fire alarm phone |
|  | Fire blanket It indicates the location of the fire blanket |
|  | No smoking It informs about the smoking ban in the indicated place |
|  | No open fire It informs about the ban on using open fire in the indicated place |
|  | No water to extinguish fire It informs about the ban on extinguishing with water in the indicated place |
|  | Do not block It informs about the ban on blocking in the indicated place |
|  | Fire electricity switch It indicates the location of fire electricity switch |
|  | Fire door. Close the right door It indicates the door in walls separating from the fire |
|  | Fire door. Close the left door It indicates the door in walls separating from the fire |
|  | In case of fire do not use the lift It informs about the ban on using the lift in case of fire |
|  | Attention, please do not touch! Electric device. |